## 3-12
Tab | Permit Type | Permitted Operation | Permit Number | Permit Expiration | Testing/ Insp. Due Date | Testing/ Insp. Completion Date | Equipment Description | Capacity | Units | Facility Responsible Person | Unit Requirements | Location/Info | Other Info | Testing Required | Testing Frequency | Contractor | 90 day reminder sent | 60 day reminder sent | 30 day reminder sent
1 | CA Air Resources Board
1.01 | Permit to Operate | Fleet Operation | 177778 | 2026-12-31 | 2026-12-31 | N/A | Truck and Bus Regulation | N/A | 35 | Transportation | https://ww2.arb.ca.gov/resources/fact-sheets/chc-factsheet-opacity-testing-guide | N/A | Western Valley Meat Vechicle | Smoke Opacity Test | Annual
2 | CA Dept. of Industrial Relations Occupational Safety & Health
2.01 |  | CNA Insurance |  |  | 2027-07-16 | 2024-07-16 |  | N/A | N/A | Maintenance Manager |  | N/A | Inspector Visitation from Insurance Company for Plant and Ammonia System | Inspector Visitation | 36 mos
2.03 | Permit to Operate | Pressure Vessel | A026185-02 | 2026-08-07 | 2026-08-07 | 08/07/2021 | NR BOILER RM. KILL | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Upstairs harvest MCC (NR) BOILER ROOM KILL MECH Room | BN: 64942L | Inspector Visitation | 5 years
2.04 | Permit to Operate | Pressure Vessel | A044130-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | OUTSIDE PAD | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | South of offal Room | B/N: 335449 | Inspector Visitation | 5 years
2.05 | Permit to Operate | Pressure Vessel | A044131-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | OUTSIDE PAD | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | South of offal Room | B/N: 335233 | Inspector Visitation | 5 years
2.06 | Permit to Operate | Pressure Vessel | A044142-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | VAV COMPRESSOR | 200 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | North of East ENG RM VAV COMPRESSOR | B/N: 338690 | Inspector Visitation | 5 years
2.07 | Permit to Operate | Pressure Vessel | A044143-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | BEHIND COMPRESSOR | 200 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | North of East ENG RM BEHIND COMPRESSOR | B/N: 321141 | Inspector Visitation | 5 years
2.08 | Permit to Operate | Pressure Vessel | A044252-11 | 12/24/2026 | 12/24/2026 | 12/24/2021 | COMPRESSOR AREA (NEAR) | 165 | PSI | Utility Manager |  | North of East ENG RM COMPRESSOR AREA | B/N: 580338 | Inspector Visitation | 5 years
2.09 | Permit to Operate | Pressure Vessel | A044292-12 | 2028-10-21 | 2028-10-21 | 2023-10-21 |  |  | PSI | Utility Manager |  | Not in Use Westcoast By HPR | B/N:69136 | Inspector Visitation | 5 years
2.1 | Permit to Operate | Pressure Vessel | A21-044121 | 2026-08-19 | 2026-08-19 | 08/19/2021 | KNOCKING GUN | 350 | PSI | Utility Manager |  | East of East ENG RM KNOCKING GUN | N/B: 656210 | Inspector Visitation | 5 years
2.11 | Permit to Operate | Pressure Vessel | A21-044122 | 2026-08-19 | 2026-08-19 | 08/19/2021 | KNOCKING GUN | 350 | PSI | Utility Manager |  | East of East ENG RM KNOCKING GUN | B/N: 708462 | Inspector Visitation | 5 years
2.12 | Permit to Operate | Pressure Vessel | A21-044123 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 165 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 182 | Inspector Visitation | 5 years
2.13 | Permit to Operate | Pressure Vessel | A21-044124 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 200 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 426135 | Inspector Visitation | 5 years
2.14 | Permit to Operate | Pressure Vessel | A21-044125 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 200 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 2063048 | Inspector Visitation | 5 years
2.15 | Permit to Operate | Pressure Vessel | A23-044356 | 10/21/2028 | 10/21/2028 | 10/21/2023 | FAB AREA | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | West Of Plate Chiller FAB AREA | B/N; 1005203 | Inspector Visitation | 5 years
2.16 | Permit to Operate | Pressure Vessel | A23-443570 | 10/21/2028 | 10/21/2028 | 10/21/2023 | FAB AREA | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | West Of Plate Chiller FAB AREA | B/N; 1005204 | Inspector Visitation | 5 years
2.17 | Permit to Operate | Pressure Vessel | B014565-00 | 2026-09-28 | 2026-08-16 | 2024-08-16 | CB1 | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N:9736 S/N; 0L098797 | Inspector Visitation | Annual
2.18 | Permit to Operate | Pressure Vessel | B014566-00 | 2026-09-28 | 2026-08-16 | 2024-08-16 | CB2 | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N:10392 | Inspector Visitation | Annual
2.19 | Permit to Operate | Pressure Vessel | B044204-08 | 2026-09-28 | 2026-08-16 | 2024-08-16 | BOILER OUTSIDE PAD | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Outside North of BOILER Room | B/N; 14361 S/N: S625-150-73 | Inspector Visitation | Annual
2.2 | Permit to Operate | Pressure Vessel | B20-044176 | 2026-09-28 | 2026-08-16 | 2024-08-16 | MAIN BOILER | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N: 19299 S/N; S2000-150-147 | Inspector Visitation | Annual
2.21 | Permit to Operate | Pressure Vessel | L23-044355 | 10/21/2026 | 10/21/2026 | 10/21/2023 | LPG TANK AREA | 250 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | LPG TANK AREA | B/N: 17588 S/N; 18994 | Inspector Visitation | 36 mos
3 | CA Dept. of Pesticide Regulation
3.01 | Permit to Operate | Pesticide Use | 10-20-1004301 | 2027-12-31 | [5 empty] | Corporate Compliance |  |  |  | In Person Permit Renewal | Annual
4 | CA Dept. of Public Health Environmental Health Permit
4.01 | Unified Program Facility Permit |  | CUPA00061827 | 2026-07-31 |  | 2025-08-01 | Hazardous Waste Generator SQG |  |  | EHS Manager | HSC Ch 6.5 (§25100) |  | https://dtsc.ca.gov/title22/ | Online Permit Renewal | Annual
[7 empty] | Haz Mat Generator Inspection | [6 empty] | Inspector Visitation | 36 mos
4.02 |  |  | CUPA00049074 | 2026-07-31 |  | 2025-08-01 | Hazardous Mateials Business Plan |  |  | EHS Manager | HSC D 20, Ch 6.95, Article 1 (§25500) |  |  | Online Permit Renewal | Annual
[7 empty] | Haz Mat Handler Inspection |  |  | EHS Manager |  |  |  | Inspector Visitation | 36 mos
4.03 | Hazardous Materials Business Plan | Submittal (CERS) | 10692520 | 2027-01-01 | 2027-03-01 | 2026-02-28 | HMBP |  |  | EHS Manager |  |  | CERS Submittal | Online Permit Renewal | Annual
|  | Inspection | N/A |  |  |  | HMBP |  |  | EHS Manager |  |  |  | Inspector Visitation | 36 mos
4.04 |  |  | CUPA00061697 | 2026-07-31 |  | 2025-08-01 | RMP Federal- Program Level 3 |  |  | Utility Manager | HSC D 20, Ch 6.95, Artile 2 (§25531) |  | https://www.epa.gov/rmp/fact-sheet-clean-air-act-section-112r-accidental-release-prevention-risk-management-plan-rule | Online Permit Renewal | Annual
4.05 |  |  | CUPA00070569 | 2026-07-31 |  | 2025-08-01 | Aboveground Storage Tank APSA |  |  | Utility Manager | HSC D 20, CH6.67 |  | https://leginfo.legislature.ca.gov/faces/codes_displayText.xhtml?lawCode=HSC&division=20.&title=&part=&chapter=6.67.&article= | Online Permit Renewal | Annual
5 | CA Dept. of Public Health RHB Divison
5.01 | Permit to Operate | Radioligy | [5 empty] | 5 | REM | EHS Manager |  |  | Inspection | Health Dept. | Annual
5.02 |  | FAC 90260 |  |  | 2026-12-31 |  | Foss Meat Master II | 5 | REM | EHS Manager "RSO" | https://www.cdph.ca.gov/Programs/CEH/DRSEM/pages/rhb.aspx# |  | Registration permit | Submital | 24 months
[5 empty] | 2026-10-30 | 2025-10-20 | Foss Meat Master II | 5 | REM | Maintenance Manager |  |  | Fabrication Area 91846098 | Annual Survey | Annual
[5 empty] | 2026-04-01 | 2026-01-01 | Foss Meat Master II | 5 | REM | EHS Manager |  |  | Fabrication Area 91846098 | Radiation Test | Monthly
5.03 |  |  | 25024268 |  | 2026-02-03 |  | Alpha-Beta-Gamma Detector |  |  | EHS Manager |  | Fabrication |  | Meter Calibration | Annual
|  |  | 25016942 |  | 2026-04-21 |  | Alpha-Beta-Gamma Detector |  |  | EHS Manager |  | Case ready |  | Meter Calibration | Annual
6 | CA Dept. of Toxic Substances Control
6.01 | Hazardous Waste Manifest | Hazardous Waste Handler | CAL000488436 | 2026-04-11 | 2026-04-11 | 2025-04-11 |  |  |  | Corporate Compliance | Electronic Verification Questionnaire (eVQ) System |  | eVQ | Online Permit Renewal | Annual
7 | Cal ARP
7.01 | Risk Management Program | Anhydrous Ammonia |  |  | 2026-03-07 | 2023-03-07 | Fresno County Inspection |  |  | Corporate Compliance EHS Manager Utility Manager |  |  |  | CUPA Audit | 36 mos
7.02 |  | Anhydrous Ammonia |  |  |  |  | CalARP SEISMIC ASSESSMENT |  |  | Corporate Compliance EHS Manager Utility Manager |  |  |  | Inspector Visitation | 5 years
7.03 |  | Level 3 |  |  | 2026-08-04 | 2023-08-04 | Offsite Consequence Analysis Review and Update |  |  | Corporate Compliance EHS Manager | https://www.epa.gov/rmp/rmp-guidance-offsite-consequence-analysis |  |  |  | 36 mos
7.04 | Process Safety Management |  | 100000255092 |  | 2028-08-04 | 2023-08-04 | Risk Management Program Update |  |  | Corporate Compliance EHS Manager | Checklist for submitting RMP |  | Review date based on last SUBMITTAL and acceptance by EPA | Online Submittal | 5 years
7.05 |  |  |  |  | 2030-04-07 | 2025-04-07 | SPCC Update |  |  | Corporate Compliance EHS Manager |  |  |  | Program Update | 5 years
[5 empty] | 2026-04-07 | 2025-04-07 | SPCC Annual Check |  |  | EHS Manager |  |  | Program Requirement | Program Update | Annual
[5 empty] | 2028-04-07 | 2025-04-07 | SPCC | [6 empty] | Inspector Visitation | 36 mos
7.06 |  |  |  |  | 2030-04-28 | 2025-04-28 | Process Hazard Analysis Level 3 Update |  |  | Corporate Compliance EHS Manager |  |  |  | Program Update | 5 years
7.07 |  |  |  |  | 2028-04-28 | 4/28/22025 | Compliance Audit |  |  | Corporate Compliance Utility Manager EHS Manager | RMP Compliance Audit Checklist for L3 Stationary Sources |  |  | Compliance Audit | 36 mos
7.08 |  |  |  |  | 2030-12-31 | 2025-12-16 | Mechanical Integrity Testing |  |  | Maintenance Manager Utility Manager |  |  |  | Mechanical Integrity Testing | 5 years
8 | California Secretary of State Business Programs
8.01 | Business License Certificate |  | M354 | N/A |  | 2024-08-14 | Delivery Truck |  |  | Corporate Compliance |  |  |  |  | Annual
9 | Federal Communications Commission
9.01 | Radio Station Authorization | IG-Industrial/Business Pool, Conventional | FCC Registration Number (FRN): 0036796571 | 2035-04-16 | 2035-04-16 | 2025-04-16 | Radio Service Call Sign - WSHY434 |  |  | EHS Manager |  |  | File Number 00000 |  | 10 Years
10 | Fresno Regional Wastewater Discharge Permit
10.01 | Permit to Operate | Waste Water | FI(E)-758805 | 2026-08-18 | 2026-05-20 | 2025-05-20 |  |  |  | EHS Manager |  |  | Permit Expiration August of every year | Application due date May of every year | Annual
10.02 |  | Permit Application |  |  | 2026-05-19 | 2025-05-22 |  |  |  | EHS Manager |  |  | Wastewater Dischage Permit Application | Mail / Email | Annual
10.03 |  | FOG Testing |  |  | 2026-07-11 | 2026-01-28 |  | N/A | N/A | Ulitities |  | Semiannual Industrial User Monitoring Report (IUMR) | Fats, Oils and Grease Testing Due every Jan 15TH and July 15TH | Semi Annual | Twice Yearly
11 | San Joaquin Valley Air Pollution Control District
11.01 |  | Natural Gas Emmissions Inventory | C-3463 | 2026-05-01 | [5 empty] | Utility Manager Mike Oliver |  |  | Survey arrives via email or in the mail from SJVAPCD. Work with Yorke Engineering |  | Annual
11.02 | Permit to Operate | 10.5 MMBTU/HR CLEAVER BROOKS MODEL CB700-250-150ST | C-3463 1-4 | 2030-09-30 |  |  | 10.5 MMBTU/HR CLEAVER BROOKS MODEL CB700-250-150ST NATURAL GAS-FIRED BOILER WITH AN ALZETA MODEL CSB-105R ULTRA LOW NOX BURNER | 10.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL CSB-105R ULTRA LOW NOX BURNER |  |  | 2026-05-25 | 2023-05-25 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.03 | Permit to Operate | 10.5 MMBTU/HR CLEAVER-BROOKS MODEL CBI700-250-150 | C-3463 2-4 | 2030-09-30 |  |  | NATURAL GAS/BIOGAS-FIRED BOILER WITH AN ALZETA | 10.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | CSB-105R ULTRA LOW NOX BURNER |  |  | 2028-10-01 | 2025-10-15 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. After compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.04 | Permit to Operate | 2,922 BHP CUMMINS MODEL QSK60-G6 DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | C-3463 5-1 | 2030-09-30 |  |  | DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | 2922 | BHP | Maintenance Manager |  |  |  |  | Annual
11.05 | Permit to Operate | 2,922 BHP CUMMINS MODEL QSK60-G6 DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | C-3463 6-0 | 2030-09-30 |  |  | DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | 2922 | BHP | Maintenance Manager |  |  |  |  | Annual
11.06 | Permit to Operate | 16.8 MMBTU/HR HURST MODEL SCOTCH MARINE, WETBACK, 400 SERIES | C-3463 7-4 | 2030-09-30 |  |  | 16.8 MMBTU/HR HURST MODEL SCOTCH MARINE, WETBACK, 400 SERIES BIOGAS/NATURAL GASFIRED BOILER | 16.8 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL LNINVC9-GG-30 ULTRA LOW NOX BURNER |  |  | 2026-11-21 | 2023-11-21 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.07 | Permit to Operate | 18.6 MMBTU/HR VAREC BIOGAS MODEL WG244ESC1922009 ENCLOSED EMERGENCY FLARE WITH A LPG PILOT LIGHT | C-3463 8-5 | 2030-09-30 |  |  | EMERGENCY FLARE WITH A LPG PILOT LIGHT | 18.6 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
11.08 | Permit to Operate | 5.25 MMBTU/HR HURST NATURAL GAS-FIRED BOILER WITH A POWER FLAME MODEL NVC5-G-30 ULTRA LOW NOX BURNER | C-3463 11-2 | 2030-09-30 |  |  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER | 5.25 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER |  |  | 2028-01-28 | 2025-01-16 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.09 | Permit to Operate | BLOOD DRYING OPERATION CONSISTING OF A REFRIGERATED BLOOD STORAGE TANK, ONE COAGULATOR, ONE DECANTER AND ONE STEAM DRYER ALL SERVED BY ONE DRYER CYCLONE, ONE VENTURI CONDENSER AND ONE PACKED TOWER SCRUBBER ALL CONNECTED IN SERIES | C-3463 13-2 | 2030-09-30 |  |  | ROOM AIR ALSO VENTED THROUGH PACKED TOWER SCRUBBER (SCRUBBER SHARED WITH PERMIT C-3463-14 | [7 empty] | Annual
|  | Ult Low Nox Gas-Fired Burner |  |  | 2027-03-04 | 2026-03-03 | Source Testing PM10, NH3, VOC, and H2S emissions |  |  | Maintenance Manager | # 28 |  |  | Source Testing | Annual
11.1 | Permit to Operate | DRIED BLOOD MEAL GRINDING, STORAGE AND TRUCK LOADOUT OPERATION WITH ONE HAMMERMILL AND ONE SYCLONE | C-3463 14-2 | 2030-09-30 |  |  | SILO CYCLONE, ONE HIGH EFFICIENCY IN-LINE FILTER AND ONE PACKED TOWER SCRUBBER CONNECTED IN SERIES (SCRUBBER SHARED WITH PERMIT C-3463-9) AND ONE 2,000 CU FT STORAGE SILO SERVED BY A FLEXIBLE LOADOUT SPOUT |  |  | Maintenance Manager |  |  |  |  | Annual
11.11 | Permit to Operate | 117 BHP DEUTZ MODEL DFP42012C15 TIER 2 CERTIFIED DIESEL-FIRED EMERGENCY IC ENGINE POWERING A FIREWATER PUMP | C-3463 16-0 | 2030-09-30 |  |  | EMERGENCY IC ENGINE POWERING A FIREWATER PUMP |  |  | Maintenance Manager |  |  |  |  | Annual
11.12 | Permit to Operate | 17.5 MMBTU/HR ARMSTRONG INTERNATIONAL MODEL AFD-17500 ULTRA LOW NOX NATURAL GASFIRED WATER HEATER, WITH MAXON MODEL OPT12N | C-3463 18-0 | 2030-09-30 |  |  | NATURAL GASFIRED WATER HEATER, WITH MAXON MODEL OPT12N | 17.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER |  |  | 2027-04-10 | 2024-04-10 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
12 | State of California Fire Marshal
12.01 | Fire Marshal | Fire Alarm |  |  |  | 2024-10-01 |  |  |  | EHS Manager
|  | Fire Pump Flow Test |  |  | 2026-08-01 | 2025-08-01 |  |  |  | EHS Manager |  |  | AES 5.4 | Performance Test | Annual
|  | Fire Pump (Weekley) |  |  | 2026-09-26 | 2025-09-26 |  |  |  | EHS Manager |  |  | AES 5.3 | Performance Test | Monthly
12.02 |  | Backflows Test |  |  | 2026-10-20 | 2025-10-20 |  |  |  | EHS Manager |  |  | 37 units | Performance Test | Annual
12.03 | Fire Marshal | Fire Hydrants (5 year) |  |  | 2022-08-28 |  |  |  |  | EHS Manager |  |  | AES 4.1 | Flow Test | 5 years
|  | Fire Hydrants (Annual) |  |  | 2026-09-01 | 2025-09-01 |  |  |  | EHS Manager |  |  | AES 4 | Performance Test | Annual
|  | Fire Hydrants (Quarterly) |  |  | Not Required |  |  |  |  | EHS Manager |  |  | AES 4 | Performance Test | Quarterly
12.04 | Fire Marshal | Fire Sprinklers (5 year) |  |  | 2028-12-07 | 2023-12-07 |  |  |  | EHS Manager |  |  | AES 2.2 | Performance Test | 5 years
|  | Fire Sprinklers (Annual) |  |  | 2026-10-31 | 2025-10-31 |  |  |  | EHS Manager |  |  | AES 2.1 | Performance Test | Annual
|  | Fire Sprinklers (Quarterly) |  |  | 2026-04-30 | 2026-01-30 |  |  |  | EHS Manager |  |  | AES 2.1 | Performance Test | Quarterly
13 | State Water Resources Control Board
13.01 | Certificate of Issuance | Domestic Supply Water | 04-12-25P-004 | N/A |  |  |  | N/A | N/A |  | H&S Code, Section 116525 - 116595
13.02 | Consumer Confidence Report |  | CCR |  | 2026-07-01 | 2025-05-29 |  | N/A | N/A | Utlilites | Public Drinking Water Watch | Due date, July 1st every year. |  | Online Submittal | Annual
13.03 | Consumer Confidence Report Certification Form |  | CCR Certification |  | 2026-10-01 | 2025-08-04 |  | N/A | N/A | Edward Vallejo- Utilites | Public Drinking Water Watch | Due date, October 1st every year. | Post the CCR in public places (attach a list of locations) | Online Submittal | Annual
13.04 | Electronic Annual Reporting |  | eAR |  | 2026-04-01 | 2025-04-01 |  | N/A | N/A | Utlilites | Electronic Annual Report (eAR) ¦ California State Water Resources Control Board | Due date, April 1st every year. |  | Online Submittal | Annual
|  |  | Annual Inventory Reporting |  | 2026-03-31 | 2025-05-21 |  | N/A | N/A | Utlilites |  | Due date, March 31st every year |  | Online Submittal | Annual
13.05 |  |  | Permit Annual Fee |  | 2026-08-01 | 2026-03-18 |  | N/A | N/A | Josh Bornemann | H&S Code, Section 116525 - 116595 | Annual Fee due twice a year. Invoice sent in August and in December, due within 90 days. | Billed to CFO Directly |  | Twice Yearly
13.06 |  |  | CA1000461-001 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites | Title 22, Div 4, Chapter 14 - Small Water Systems |  | Sample Point: Well 01 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2026-04-02 | 2025-04-02 |  |  |  |  | Public Drinking Water Watch |  |  | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.07 |  |  | CA1000461-002 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 02 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2026-04-02 | 2025-04-02 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.08 |  |  | CA1000461-003 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 03 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2026-04-02 | 2025-04-02 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2028-04-01 | 2022-04-06 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.09 |  |  | CA1000461-004 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 04 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2026-04-02 | 2025-04-02 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.1 | Permit to Operate | Stormwater: NONA |  |  | 2027-03-03 | 2025-03-03 | Storm Water Annual Report |  |  | EHS Manager LRP- Alfredo Aguirre DAR- |  | Legal Responsible Person/Duly Authorized Representative | SMARTS |  | Annual
14 | USDA
14.01 | Dynamic Scale Test Report | Packers & Stockyard Program |  |  | 2026-07-05 | 2025-01-05 | Weightronix WI 127 011012, Rice Lake 480 PLUS 00006131, Flexweigh DWM IV, Weightronix WI-127 | 750 1000 1200 920 750 750 1200 | LBS | Maintenance Manager | https://www.ams.usda.gov/sites/default/files/media/PSDInstructionsforTestingLivestockandAnimalScales.pdf | HOT RAIL RAIL OUT KILL FLOOR RAIL BACK UP KPH FAT TRIM RAIL | One test between Jan 1 and June 30 and the second between July 1 and Dec 31 of the calendar year. More frequent testing is required for scales that do not maintain accuracy between tests. | Dynamic Scale Test Report | Semi-Annual
14.02 | Dynamic Scale Test Report | Packers & Stockyard Program | Service Report #11262 |  | 2026-04-05 | 2026-01-05 | Weightronix WI 127 011012, Rice Lake 480 PLUS 00006131, Flexweigh DWM IV, Weightronix WI-127 | 750 1000 1200 920 750 750 1200 | LBS | Maintenance Manager | https://www.ams.usda.gov/sites/default/files/media/PSDInstructionsforTestingLivestockandAnimalScales.pdf | HOT RAIL RAIL OUT KILL FLOOR RAIL BACK UP KPH FAT TRIM RAIL |  | Quarterly Test Record and Service Report | Quarterly
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Waiting for the permits Reply: Will soon get an updated insurance for all sites
Note on A12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: FOLLOW UP WITH ALBERT ABOUT relief valve THAT NEED TO BE FIXED. Locate permit also.
Note on G20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We had 9-3-24 but since they were due a month earlier last year we went with permit dates. Boilers only
Note on E29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Carlos will call the county to verify inspection due date // last inspection was done in 3/7/2023 (due every 3 years)
Note on A37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DO WE HAVE A PERMIT FOR X RAY IF SO ADD DATES TO PERMIT SECTION
Note on A47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ADDED TO SS. Missing dates here once done, input data. Need to set up if not.
Note on A77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Second quote has been sent to Suki
Note on A88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Have not found the last 5 year insp.
Note on A91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need quarterly report, already done in Jan.
Note on A125: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we need a Exp date on this permit?
Note on A128: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Coming up set up soon. Reply: Fernando Will send report once received

## 7-31
Tab | Permit Type | Permitted Operation | Permit Number | Permit Expiration | Testing/ Insp. Due Date | Testing/ Insp. Completion Date | Equipment Description | Capacity | Units | Facility Responsible Person | Unit Requirements | Location/Info | Other Info | Testing Required | Testing Frequency | Contractor | 90 day reminder sent | 60 day reminder sent | 30 day reminder sent
1 | CA Air Resources Board
1.01 | Permit to Operate | Fleet Operation | 177778 | 2026-12-31 | 2026-12-31 | N/A | Truck and Bus Regulation | N/A | 35 | Transportation | https://ww2.arb.ca.gov/resources/fact-sheets/chc-factsheet-opacity-testing-guide | N/A | Western Valley Meat Vechicle | Smoke Opacity Test | Annual
2 | CA Dept. of Industrial Relations Occupational Safety & Health
2.01 |  | CNA Insurance |  |  | 2027-07-16 | 2024-07-16 |  | N/A | N/A | Maintenance Manager |  | N/A | Inspector Visitation from Insurance Company for Plant and Ammonia System | Inspector Visitation | 36 mos
2.03 | Permit to Operate | Pressure Vessel | A026185-02 | 2026-08-07 | 2026-08-07 | 08/07/2021 | NR BOILER RM. KILL | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Upstairs harvest MCC (NR) BOILER ROOM KILL MECH Room | BN: 64942L | Inspector Visitation | 5 years
2.04 | Permit to Operate | Pressure Vessel | A044130-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | OUTSIDE PAD | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | South of offal Room | B/N: 335449 | Inspector Visitation | 5 years
2.05 | Permit to Operate | Pressure Vessel | A044131-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | OUTSIDE PAD | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | South of offal Room | B/N: 335233 | Inspector Visitation | 5 years
2.06 | Permit to Operate | Pressure Vessel | A044142-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | VAV COMPRESSOR | 200 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | North of East ENG RM VAV COMPRESSOR | B/N: 338690 | Inspector Visitation | 5 years
2.07 | Permit to Operate | Pressure Vessel | A044143-16 | 2026-08-07 | 2026-08-07 | 08/07/2021 | BEHIND COMPRESSOR | 200 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | North of East ENG RM BEHIND COMPRESSOR | B/N: 321141 | Inspector Visitation | 5 years
2.08 | Permit to Operate | Pressure Vessel | A044252-11 | 12/24/2026 | 12/24/2026 | 12/24/2021 | COMPRESSOR AREA (NEAR) | 165 | PSI | Utility Manager |  | North of East ENG RM COMPRESSOR AREA | B/N: 580338 | Inspector Visitation | 5 years
2.09 | Permit to Operate | Pressure Vessel | A044292-12 | 2028-10-21 | 2028-10-21 | 2023-10-21 |  |  | PSI | Utility Manager |  | Not in Use Westcoast By HPR | B/N:69136 | Inspector Visitation | 5 years
2.1 | Permit to Operate | Pressure Vessel | A21-044121 | 2026-08-19 | 2026-08-19 | 08/19/2021 | KNOCKING GUN | 350 | PSI | Utility Manager |  | East of East ENG RM KNOCKING GUN | N/B: 656210 | Inspector Visitation | 5 years
2.11 | Permit to Operate | Pressure Vessel | A21-044122 | 2026-08-19 | 2026-08-19 | 08/19/2021 | KNOCKING GUN | 350 | PSI | Utility Manager |  | East of East ENG RM KNOCKING GUN | B/N: 708462 | Inspector Visitation | 5 years
2.12 | Permit to Operate | Pressure Vessel | A21-044123 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 165 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 182 | Inspector Visitation | 5 years
2.13 | Permit to Operate | Pressure Vessel | A21-044124 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 200 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 426135 | Inspector Visitation | 5 years
2.14 | Permit to Operate | Pressure Vessel | A21-044125 | 2026-08-19 | 2026-08-19 | 08/19/2021 | MAP | 200 | PSI | Utility Manager | https://www.dir.ca.gov/title8/560.html | Outside MAP West wall | B/N: 2063048 | Inspector Visitation | 5 years
2.15 | Permit to Operate | Pressure Vessel | A23-044356 | 10/21/2028 | 10/21/2028 | 10/21/2023 | FAB AREA | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | West Of Plate Chiller FAB AREA | B/N; 1005203 | Inspector Visitation | 5 years
2.16 | Permit to Operate | Pressure Vessel | A23-443570 | 10/21/2028 | 10/21/2028 | 10/21/2023 | FAB AREA | 165 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | West Of Plate Chiller FAB AREA | B/N; 1005204 | Inspector Visitation | 5 years
2.17 | Permit to Operate | Pressure Vessel | B014565-00 | 2026-09-28 | 2026-08-16 | 2024-08-16 | CB1 | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N:9736 S/N; 0L098797 | Inspector Visitation | Annual
2.18 | Permit to Operate | Pressure Vessel | B014566-00 | 2026-09-28 | 2026-08-16 | 2024-08-16 | CB2 | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N:10392 | Inspector Visitation | Annual
2.19 | Permit to Operate | Pressure Vessel | B044204-08 | 2026-09-28 | 2026-08-16 | 2024-08-16 | BOILER OUTSIDE PAD | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Outside North of BOILER Room | B/N; 14361 S/N: S625-150-73 | Inspector Visitation | Annual
2.2 | Permit to Operate | Pressure Vessel | B20-044176 | 2026-09-28 | 2026-08-16 | 2024-08-16 | MAIN BOILER | 150 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | Boiler Room | B/N: 19299 S/N; S2000-150-147 | Inspector Visitation | Annual
2.21 | Permit to Operate | Pressure Vessel | L23-044355 | 10/21/2026 | 10/21/2026 | 10/21/2023 | LPG TANK AREA | 250 | PSI | Utility Manager | Title 8 SubCh 1 Article 3 Section 462 Field Inspection | LPG TANK AREA | B/N: 17588 S/N; 18994 | Inspector Visitation | 36 mos
3 | CA Dept. of Pesticide Regulation
3.01 | Permit to Operate | Pesticide Use | 10-20-1004301 | 2027-12-31 | [5 empty] | Corporate Compliance |  |  |  | In Person Permit Renewal | Annual
4 | CA Dept. of Public Health Environmental Health Permit
4.01 | Unified Program Facility Permit |  | CUPA00061827 | 2027-07-31 |  | 2025-08-01 | Hazardous Waste Generator SQG |  |  | EHS Manager | HSC Ch 6.5 (§25100) |  | https://dtsc.ca.gov/title22/ | Online Permit Renewal | Annual
[7 empty] | Haz Mat Generator Inspection | [6 empty] | Inspector Visitation | 36 mos
4.02 |  |  | CUPA00049074 | 2027-07-31 |  | 2025-08-01 | Hazardous Mateials Business Plan |  |  | EHS Manager | HSC D 20, Ch 6.95, Article 1 (§25500) |  |  | Online Permit Renewal | Annual
[7 empty] | Haz Mat Handler Inspection |  |  | EHS Manager |  |  |  | Inspector Visitation | 36 mos
4.03 | Hazardous Materials Business Plan | Submittal (CERS) | 10692520 | 2027-01-01 | 2027-03-01 | 2026-02-28 | HMBP |  |  | EHS Manager |  |  | CERS Submittal | Online Permit Renewal | Annual
|  | Inspection | N/A |  |  |  | HMBP |  |  | EHS Manager |  |  |  | Inspector Visitation | 36 mos
4.04 |  |  | CUPA00061697 | 2027-07-31 |  | 2025-08-01 | RMP Federal- Program Level 3 |  |  | Utility Manager | HSC D 20, Ch 6.95, Artile 2 (§25531) |  | https://www.epa.gov/rmp/fact-sheet-clean-air-act-section-112r-accidental-release-prevention-risk-management-plan-rule | Online Permit Renewal | Annual
4.05 |  |  | CUPA00070569 | 2027-07-31 |  | 2025-08-01 | Aboveground Storage Tank APSA |  |  | Utility Manager | HSC D 20, CH6.67 |  | https://leginfo.legislature.ca.gov/faces/codes_displayText.xhtml?lawCode=HSC&division=20.&title=&part=&chapter=6.67.&article= | Online Permit Renewal | Annual
5 | CA Dept. of Public Health RHB Divison
5.01 | Permit to Operate | Radioligy | [5 empty] | 5 | REM | EHS Manager |  |  | Inspection | Health Dept. | Annual
5.02 |  | FAC 90260 |  |  | 2026-12-31 |  | Foss Meat Master II | 5 | REM | EHS Manager "RSO" | https://www.cdph.ca.gov/Programs/CEH/DRSEM/pages/rhb.aspx# |  | Registration permit | Submital | 24 months
[5 empty] | 2026-10-30 | 2025-10-20 | Foss Meat Master II | 5 | REM | Maintenance Manager |  |  | Fabrication Area 91846098 | Annual Survey | Annual
[5 empty] | 2026-10-30 | 2026-07-31 | Foss Meat Master II | 5 | REM | Maintenance Manager |  |  | Fabrication Area 91846098 | Radiation Test | Monthly
5.03 |  |  | 25024268 |  | 2027-07-20 | 2026-07-20 | Alpha-Beta-Gamma Detector |  |  | EHS Manager |  | Fabrication |  | Meter Calibration | Annual
|  |  | 25016942 |  | 2026-09-21 |  | Alpha-Beta-Gamma Detector |  |  | EHS Manager |  | Case ready |  | Meter Calibration | Annual
6 | CA Dept. of Toxic Substances Control
6.01 | Hazardous Waste Manifest | Hazardous Waste Handler | CAL000488436 | 2027-03-31 | 2027-03-31 | 2026-03-17 |  |  |  | Corporate Compliance | Electronic Verification Questionnaire (eVQ) System |  | eVQ | Online Permit Renewal | Annual
7 | Cal ARP
7.01 | Risk Management Program | Anhydrous Ammonia |  |  | 2026-03-07 | 2023-03-07 | Fresno County Inspection |  |  | Corporate Compliance EHS Manager Utility Manager |  |  |  | CUPA Audit | 36 mos
7.02 |  | Anhydrous Ammonia |  |  |  |  | CalARP SEISMIC ASSESSMENT |  |  | Corporate Compliance EHS Manager Utility Manager |  |  |  | Inspector Visitation | 5 years
7.03 |  | Level 3 |  |  | 2028-09-19 | 2025-09-19 | Offsite Consequence Analysis Review and Update |  |  | Corporate Compliance EHS Manager | https://www.epa.gov/rmp/rmp-guidance-offsite-consequence-analysis |  |  |  | 36 mos
7.04 | Process Safety Management |  | 100000255092 |  | 2028-08-04 | 2023-08-04 | Risk Management Program Update |  |  | Corporate Compliance EHS Manager | Checklist for submitting RMP |  | Review date based on last SUBMITTAL and acceptance by EPA | Online Submittal | 5 years
7.05 |  |  |  |  | 2030-04-07 | 2025-04-07 | SPCC Update |  |  | Corporate Compliance EHS Manager |  |  |  | Program Update | 5 years
[5 empty] | 2027-06-09 | 2026-06-09 | SPCC Annual Check |  |  | EHS Manager |  |  | Program Requirement | Program Update | Annual
[5 empty] | 2028-04-07 | 2025-04-07 | SPCC | [6 empty] | Inspector Visitation | 36 mos
7.06 |  |  |  |  | 2030-04-28 | 2025-04-28 | Process Hazard Analysis Level 3 Update |  |  | Corporate Compliance EHS Manager |  |  |  | Program Update | 5 years
7.07 |  |  |  |  | 2028-04-28 | 4/28/22025 | Compliance Audit |  |  | Corporate Compliance Utility Manager EHS Manager | RMP Compliance Audit Checklist for L3 Stationary Sources |  |  | Compliance Audit | 36 mos
7.08 |  |  |  |  | 2030-12-31 | 2025-12-16 | Mechanical Integrity Testing |  |  | Maintenance Manager Utility Manager |  |  |  | Mechanical Integrity Testing | 5 years
8 | California Secretary of State Business Programs
8.01 | Business License Certificate |  | M354 | N/A |  | 2024-08-14 | Delivery Truck |  |  | Corporate Compliance |  |  |  |  | Annual
9 | Federal Communications Commission
9.01 | Radio Station Authorization | IG-Industrial/Business Pool, Conventional | FCC Registration Number (FRN): 0036796571 | 2035-04-16 | 2035-04-16 | 2025-04-16 | Radio Service Call Sign - WSHY434 |  |  | EHS Manager |  |  | File Number 00000 |  | 10 Years
10 | Fresno Regional Wastewater Discharge Permit
10.01 | Permit to Operate | Waste Water | FI(E)-758805 | 2026-08-18 | 2027-06-10 | 2026-06-10 |  |  |  | EHS Manager |  |  | Permit Expiration August of every year | Application due date May of every year | Annual
10.02 |  | Permit Application |  |  | 2027-05-20 | 2026-05-20 |  |  |  | EHS Manager |  |  | Wastewater Dischage Permit Application | Mail / Email | Annual
10.03 |  | FOG Testing |  |  | 2027-01-30 | 2026-06-25 |  | N/A | N/A | Ulitities |  | Semiannual Industrial User Monitoring Report (IUMR) | Fats, Oils and Grease Testing Due every Jan 15TH and July 15TH | Semi Annual | Twice Yearly
11 | San Joaquin Valley Air Pollution Control District
11.01 |  | Natural Gas Emmissions Inventory | C-3463 | 2027-03-31 | [5 empty] | Utility Manager Mike Oliver |  |  | Survey arrives via email or in the mail from SJVAPCD. Work with Yorke Engineering |  | Annual
11.02 | Permit to Operate | 10.5 MMBTU/HR CLEAVER BROOKS MODEL CB700-250-150ST | C-3463 1-4 | 2030-09-30 |  |  | 10.5 MMBTU/HR CLEAVER BROOKS MODEL CB700-250-150ST NATURAL GAS-FIRED BOILER WITH AN ALZETA MODEL CSB-105R ULTRA LOW NOX BURNER | 10.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL CSB-105R ULTRA LOW NOX BURNER |  |  | 2029-05-25 | 2026-05-20 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.03 | Permit to Operate | 10.5 MMBTU/HR CLEAVER-BROOKS MODEL CBI700-250-150 | C-3463 2-4 | 2030-09-30 |  |  | NATURAL GAS/BIOGAS-FIRED BOILER WITH AN ALZETA | 10.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | CSB-105R ULTRA LOW NOX BURNER |  |  | 2028-10-01 | 2025-10-15 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. After compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.04 | Permit to Operate | 2,922 BHP CUMMINS MODEL QSK60-G6 DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | C-3463 5-1 | 2030-09-30 |  |  | DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | 2922 | BHP | Maintenance Manager |  |  |  |  | Annual
11.05 | Permit to Operate | 2,922 BHP CUMMINS MODEL QSK60-G6 DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | C-3463 6-0 | 2030-09-30 |  |  | DIESEL-FIRED EMERGENCY STANDBY IC ENGINE POWERING AN ELECTRICAL GENERATOR | 2922 | BHP | Maintenance Manager |  |  |  |  | Annual
11.06 | Permit to Operate | 16.8 MMBTU/HR HURST MODEL SCOTCH MARINE, WETBACK, 400 SERIES | C-3463 7-4 | 2030-09-30 |  |  | 16.8 MMBTU/HR HURST MODEL SCOTCH MARINE, WETBACK, 400 SERIES BIOGAS/NATURAL GASFIRED BOILER | 16.8 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL LNINVC9-GG-30 ULTRA LOW NOX BURNER |  |  | 2026-11-21 | 2023-11-21 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.07 | Permit to Operate | 18.6 MMBTU/HR VAREC BIOGAS MODEL WG244ESC1922009 ENCLOSED EMERGENCY FLARE WITH A LPG PILOT LIGHT | C-3463 8-5 | 2030-09-30 |  |  | EMERGENCY FLARE WITH A LPG PILOT LIGHT | 18.6 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
11.08 | Permit to Operate | 5.25 MMBTU/HR HURST NATURAL GAS-FIRED BOILER WITH A POWER FLAME MODEL NVC5-G-30 ULTRA LOW NOX BURNER | C-3463 11-2 | 2030-09-30 |  |  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER | 5.25 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER |  |  | 2028-01-28 | 2025-01-16 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
11.09 | Permit to Operate | BLOOD DRYING OPERATION CONSISTING OF A REFRIGERATED BLOOD STORAGE TANK, ONE COAGULATOR, ONE DECANTER AND ONE STEAM DRYER ALL SERVED BY ONE DRYER CYCLONE, ONE VENTURI CONDENSER AND ONE PACKED TOWER SCRUBBER ALL CONNECTED IN SERIES | C-3463 13-2 | 2030-09-30 |  |  | ROOM AIR ALSO VENTED THROUGH PACKED TOWER SCRUBBER (SCRUBBER SHARED WITH PERMIT C-3463-14 | [7 empty] | Annual
|  | Ult Low Nox Gas-Fired Burner |  |  | 2027-03-04 | 2026-03-03 | Source Testing PM10, NH3, VOC, and H2S emissions |  |  | Maintenance Manager | # 28 |  |  | Source Testing | Annual
11.1 | Permit to Operate | DRIED BLOOD MEAL GRINDING, STORAGE AND TRUCK LOADOUT OPERATION WITH ONE HAMMERMILL AND ONE SYCLONE | C-3463 14-2 | 2030-09-30 |  |  | SILO CYCLONE, ONE HIGH EFFICIENCY IN-LINE FILTER AND ONE PACKED TOWER SCRUBBER CONNECTED IN SERIES (SCRUBBER SHARED WITH PERMIT C-3463-9) AND ONE 2,000 CU FT STORAGE SILO SERVED BY A FLEXIBLE LOADOUT SPOUT |  |  | Maintenance Manager |  |  |  |  | Annual
11.11 | Permit to Operate | 117 BHP DEUTZ MODEL DFP42012C15 TIER 2 CERTIFIED DIESEL-FIRED EMERGENCY IC ENGINE POWERING A FIREWATER PUMP | C-3463 16-0 | 2030-09-30 |  |  | EMERGENCY IC ENGINE POWERING A FIREWATER PUMP |  |  | Maintenance Manager |  |  |  |  | Annual
11.12 | Permit to Operate | 17.5 MMBTU/HR ARMSTRONG INTERNATIONAL MODEL AFD-17500 ULTRA LOW NOX NATURAL GASFIRED WATER HEATER, WITH MAXON MODEL OPT12N | C-3463 18-0 | 2030-09-30 |  |  | NATURAL GASFIRED WATER HEATER, WITH MAXON MODEL OPT12N | 17.5 | MMBTU/hr | Utility Manager |  |  |  |  | Annual
|  | MODEL NVC5-G-30 ULTRA LOW NOX BURNER |  |  | 2027-04-10 | 2024-04-10 | Source Testing NOX and CO emissions |  |  | Maintenance Manager |  |  | First 2 tests are annual. Aftern compliance on 2 consecutive tests, go to once every 36 months. If fail one 36 month test, go back to annual. | Source Testing | 36 mos
12 | State of California Fire Marshal
12.01 | Fire Marshal | Fire Alarm |  |  |  | 2024-10-01 |  |  |  | EHS Manager
|  | Fire Pump Flow Test |  |  | 2026-08-01 | 2025-08-01 |  |  |  | EHS Manager |  |  | AES 5.4 | Performance Test | Annual
|  | Fire Pump (Weekley) |  |  | 2026-09-26 | 2025-09-26 |  |  |  | EHS Manager |  |  | AES 5.3 | Performance Test | Monthly
12.02 |  | Backflows Test |  |  | 2026-10-20 | 2025-10-20 |  |  |  | EHS Manager |  |  | 37 units | Performance Test | Annual
12.03 | Fire Marshal | Fire Hydrants (5 year) |  |  | 2022-08-28 |  |  |  |  | EHS Manager |  |  | AES 4.1 | Flow Test | 5 years
|  | Fire Hydrants (Annual) |  |  | 2026-09-01 | 2025-09-01 |  |  |  | EHS Manager |  |  | AES 4 | Performance Test | Annual
|  | Fire Hydrants (Quarterly) |  |  | Not Required |  |  |  |  | EHS Manager |  |  | AES 4 | Performance Test | Quarterly
12.04 | Fire Marshal | Fire Sprinklers (5 year) |  |  | 2028-12-07 | 2023-12-07 |  |  |  | EHS Manager |  |  | AES 2.2 | Performance Test | 5 years
|  | Fire Sprinklers (Annual) |  |  | 2026-10-31 | 2025-10-31 |  |  |  | EHS Manager |  |  | AES 2.1 | Performance Test | Annual
|  | Fire Sprinklers (Quarterly) |  |  | 2026-10-28 | 2026-07-28 |  |  |  | EHS Manager |  |  | AES 2.1 | Performance Test | Quarterly
13 | State Water Resources Control Board
13.01 | Certificate of Issuance | Domestic Supply Water | 04-12-25P-004 | N/A |  |  |  | N/A | N/A |  | H&S Code, Section 116525 - 116595
13.02 | Consumer Confidence Report |  | CCR |  | 2027-07-01 | 2026-07-01 |  | N/A | N/A | Utlilites | Public Drinking Water Watch | Due date, July 1st every year. |  | Online Submittal | Annual
13.03 | Consumer Confidence Report Certification Form |  | CCR Certification |  | 2026-10-01 | 2025-08-04 |  | N/A | N/A | Edward Vallejo- Utilites | Public Drinking Water Watch | Due date, October 1st every year. | Post the CCR in public places (attach a list of locations) | Online Submittal | Annual
13.04 | Electronic Annual Reporting |  | eAR |  | 2027-04-01 | 2026-04-01 |  | N/A | N/A | Utlilites | Electronic Annual Report (eAR) ¦ California State Water Resources Control Board | Due date, April 1st every year. |  | Online Submittal | Annual
13.05 |  |  | Permit Annual Fee |  | 2026-08-01 | 2026-03-18 |  | N/A | N/A | Josh Bornemann | H&S Code, Section 116525 - 116595 | Annual Fee due twice a year. Invoice sent in August and in December, due within 90 days. | Billed to CFO Directly |  | Twice Yearly
13.06 |  |  | CA1000461-001 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites | Title 22, Div 4, Chapter 14 - Small Water Systems |  | Sample Point: Well 01 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2027-02-01 | 2026-02-03 |  |  |  |  | Public Drinking Water Watch |  |  | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.07 |  |  | CA1000461-002 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 02 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2027-02-01 | 2026-02-03 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.08 |  |  | CA1000461-003 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 03 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2027-02-01 | 2026-02-03 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2028-04-01 | 2022-04-06 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.09 |  |  | CA1000461-004 |  | 2028-04-01 | 2025-04-02 |  |  |  | Utlilites |  |  | Sample Point: Well 04 - Raw | Inorganic Contaminant Testing | 36 mos
[5 empty] | 2027-02-01 | 2026-02-03 | [7 empty] | Nitrate Testing | Annual
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Nitrite Testing | 36 mos
[5 empty] | 2034-04-02 | 2025-04-02 | [7 empty] | Radiological Testing | 9 years
[5 empty] | 2031-04-01 | 2025-04-02 | [7 empty] | Regulated VOC Testing | 6 years
[5 empty] | 2028-04-01 | 2025-04-02 | [7 empty] | Regulated SOC Testing | 36 mos
13.1 | Permit to Operate | Stormwater: NONA |  |  | 2027-03-03 | 2025-03-03 | Storm Water Annual Report |  |  | EHS Manager LRP- Alfredo Aguirre DAR- |  | Legal Responsible Person/Duly Authorized Representative | SMARTS |  | Annual
14 | USDA
14.01 | Dynamic Scale Test Report | Packers & Stockyard Program |  |  | 2027-01-06 | 2026-07-06 | Weightronix WI 127 011012, Rice Lake 480 PLUS 00006131, Flexweigh DWM IV, Weightronix WI-127 | 750 1000 1200 920 750 750 1200 | LBS | Maintenance Manager | https://www.ams.usda.gov/sites/default/files/media/PSDInstructionsforTestingLivestockandAnimalScales.pdf | HOT RAIL RAIL OUT KILL FLOOR RAIL BACK UP KPH FAT TRIM RAIL | One test between Jan 1 and June 30 and the second between July 1 and Dec 31 of the calendar year. More frequent testing is required for scales that do not maintain accuracy between tests. | Dynamic Scale Test Report | Semi-Annual
14.02 | Dynamic Scale Test Report | Packers & Stockyard Program | Service Report #11262 |  | 2026-10-06 | 2026-07-06 | Weightronix WI 127 011012, Rice Lake 480 PLUS 00006131, Flexweigh DWM IV, Weightronix WI-127 | 750 1000 1200 920 750 750 1200 | LBS | Maintenance Manager | https://www.ams.usda.gov/sites/default/files/media/PSDInstructionsforTestingLivestockandAnimalScales.pdf | HOT RAIL RAIL OUT KILL FLOOR RAIL BACK UP KPH FAT TRIM RAIL |  | Quarterly Test Record and Service Report | Quarterly
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Waiting for the permits Reply: Will soon get an updated insurance for all sites
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Inspection was done 7/23
Note on A12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: FOLLOW UP WITH ALBERT ABOUT relief valve THAT NEED TO BE FIXED. Locate permit also.
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Map pressure vessels will be turned NON OP by Robert Harris
Note on G20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We had 9-3-24 but since they were due a month earlier last year we went with permit dates. Boilers only
Note on A28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Invoice has been paid
Note on E29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Carlos will call the county to verify inspection due date // last inspection was done in 3/7/2023 (due every 3 years)
Note on A37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DO WE HAVE A PERMIT FOR X RAY IF SO ADD DATES TO PERMIT SECTION
Note on A38: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reach out to Fernando
Note on A47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ADDED TO SS. Missing dates here once done, input data. Need to set up if not.
Note on A50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Verify annual check with Carlos
Note on A77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Second quote has been sent to Suki
Note on A88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Have not found the last 5 year insp. Reply: Christopher will to book 5 yr inspection on riser
Note on A91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need quarterly report, already done in Jan. Reply: Look for last inspection
Note on A124: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we need a Exp date on this permit?